BCA Assay

Purpose:  The BCA assay is a colorimetric test used to quantify protein in an unknown sample using a set of BSA protein standards.

- Create BSA standards using stock from NEB (must not have precipitate):

| BSA Standards |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Stock Concentration: |  | 10 | mg/mL | Desired Vol of Stds: |  | 200 | uL |
|  |  |  | ug/uL |  |  |  |  |
| Desired Concent (ug/uL) | Vol BSA Stock (uL) | Vol RIPA Buffer | PBS (uL) | Total Vol (uL) |  |  |  |
| 0 | 0 | 100 | 100 | 200 |  |  |  |
| 0.1 | 2 | 100 | 98 | 200 |  |  |  |
| 0.25 | 5 | 100 | 95 | 200 |  |  |  |
| 0.5 | 10 | 100 | 90 | 200 |  |  |  |
| 1 | 20 | 100 | 80 | 200 |  |  |  |
| 2.5 | 50 | 100 | 50 | 200 |  |  |  |
| 5 | 100 | 100 | 0 | 200 |  |  |  |

Keep BSA standards at -20°C for future use.

- Pipette 2 uL of RIPA protein sample into a well of a 96-well assay plate.  Perform in duplicate.

- Count the total number of wells that will be used for samples and standards and multiply by 200 uL (n x 200 uL).  Pipette this volume from the “big bottle” into a 15 mL conical vial.

- Calculate 1/50 of the volume from Step 3.  Pipette this volume from the little bottle (green solution) into the conical vial and vortex to mix

- Using the multichannel pipette, transfer 200 uL of the mixture into all of the wells.

- Incubate plate at 37°C for 30 minutes.

- Read tubes at 562 nM